2.0 Current Electricity

- Lecture objectives

- Distinguish between conductors and insulators

- Recall that an electric current in a metal consists of a flow of negative electrons; whereas in other conducting media an electric current may  consists of the movement of both negative and positive charge carriers

- Differentiate between electron flow and conventional current

- Recall the relationship Q = I t , and apply it to solve simple problems

Alternating Current

- Differentiate between direct and alternating currents

- Use current-time or voltage-time graphs to deduce the period and frequency of alternating currents or voltages

____________________________________________________________________

### 2.1 Conductors and Insulators

The behavior of an object which has been charged is dependent upon whether the object is made of a conductive or a nonconductive material. Conductors are materials which permit electrons to flow freely from atom to atom and molecule to molecule. An object made of a conducting material will permit charge to be transferred across the entire surface of the object. If charge is transferred to the object at a given location, that charge is quickly distributed across the entire surface of the object. The distribution of charge is the result of electron movement. Since conductors allow for electrons to be transported from particle to particle, a charged object will always distribute its charge until the overall repulsive forces between excess electrons is minimized. If a charged conductor is touched to another object, the conductor can even transfer its charge to that object. The transfer of charge between objects occurs more readily if the second object is made of a conducting material. Conductors allow for charge transfer through the free movement of electrons.

In contrast to conductors, insulators are materials which impede the free flow of electrons from atom to atom and molecule to molecule. If charge is transferred to an insulator at a given location, the excess charge will remain at the initial location of charging. The particles of the insulator do not permit the free flow of electrons; subsequently charge is seldom distributed evenly across the surface of an insulator.

While insulators are not useful for transferring charge, they do serve a critical role in electrostatic experiments and demonstrations. Conductive objects are often mounted upon insulating objects. This arrangement of a conductor on top of an insulator prevents charge from being transferred from the conductive object to its surroundings. This arrangement also allows for a student (or teacher) to manipulate a conducting object without touching it. The insulator serves as a handle for moving the conductor around on top of a lab table. If charging experiments are performed with aluminum pop cans, then the cans should be mounted on top of Styrofoam cups. The cups serve as insulators, preventing the pop cans from discharging their charge. The cups also serve as handles when it becomes necessary to move the cans around on the table.

Examples of conductors include metals, aqueous solutions of salts (i.e., ionic compounds dissolved in water), graphite, water and the human body. Examples of insulators include plastics, Styrofoam, paper, rubber, glass and dry air. The division of materials into the categories of conductors and insulators is a somewhat artificial division. It is more appropriate to think of materials as being placed somewhere along a continuum. Those materials which are super conductive (known as superconductors) would be placed at on end and the least conductive materials (best insulators) would be placed at the other end. Metals would be placed near the most conductive end and glass would be placed on the opposite end of the continuum. The conductivity of a metal might be as much as a million trillion times greater than that of glass.

Along the continuum of conductors and insulators, one might find the human body somewhere towards the conducting side of the middle. When the body acquires a static charge it has a tendency to distribute that charge throughout the surface of the body. Given the size of the human body, relative to the size of typical objects used in electrostatic experiments, it would require an abnormally large quantity of excess charge before its affect is noticeable. The affects of excess charge on the body is often demonstrate using a Van de Graaff generator. When a student places their hand upon the static ball, excess charge from the ball is shared with the human body. Being a conductor, the excess charge could flow to the human body and spread throughout the surface of the body, even onto strands of hair. As the individual strands of hair become charged, they begin to repel each other. Looking to distance themselves from their like-charged neighbors, the strands of hair begin to rise upward and outward - a truly hair-raising experience.

Many are familiar with the impact that humidity can have upon static charge buildups. You have likely noticed that bad hair days, doorknob shocks and static clothing are most common during winter months. Winter months tend to be the driest months of the year with humidity levels in the air dropping to lower values. Water, being a conductor, has a tendency to gradually remove excess charge from objects. When the humidity is high, a person acquiring an excess charge will tend to lose that charge to water molecules in the surrounding air. On the other hand, dry air conditions are more conducive to the buildup of static charge and more frequent electric shocks. Since humidity levels tend to vary from day to day and season to season, it is expected that electrical affects (and even the success of electrostatic demonstrations) can vary from day to day.

### 2.2 Distribution of Charge via Electron Movement

Predicting the direction which electrons would move within a conducting material is a simple application of the two fundamental rules of charge interaction. Opposites attract and likes repel. Suppose that some method is used to impart a negative charge to an object at a given location. At the location where the charge is imparted, there is an excess of electrons. That is, the multitude of atoms in that region possess more electrons than protons. Of course, there are a number of electrons who could be thought of as being quite contented since there is an accompanying positively charged proton to satisfy their attraction for an opposite. However, the so-called excess electrons have a repulsive response to each other and would prefer more space. Electrons, like human beings, wish to manipulate their surroundings in an effort to reduce repulsive affects. Since these excess electrons are present in a conductor, there is little hindrance to their ability to migrate to other parts of the object. And that is exactly what they do. In an effort to reduce the overall repulsive affects within the object, there is a mass migration of excess electrons throughout the entire surface of the object. Excess electrons migrate to distance themselves from their repulsive neighbors. In this sense, it is said that excess negative charge distributes itself throughout the surface of the conductor.

But what happens if the conductor acquires an excess of positive charge? What if electrons are removed from a conductor at a given location, giving the object an overall positive charge? If protons cannot move, then how can the excess of positive charge distribute itself across the surface of the material? While the answers to these questions are not as obvious, it still involves a rather simple explanation which once again relies on the two fundamental rules of charge interaction. Opposites attract and likes repel. Suppose that a conducting metal sphere is charged on its left side and imparted an excess of positive charge. (Of course, this requires that electrons be removed from the object at the location of charging.) A multitude of atoms in the region where the charging occurs have lost one or more electrons and have an excess of protons. The imbalance of charge within these atoms creates affects which can be thought of as disturbing the balance of charge within the entire object. The presence of these excess protons in a given location draws electrons from other atoms. Electrons in other parts of the object can be thought of as being quite contented with the balance of charge which they are experiencing. Yet there will always be some electrons who will feel the attraction for the excess protons some distance away. In human terms, we might say these electrons are drawn by curiosity or by the belief that the grass is greener on the other side of the fence. In the language of electrostatics, we simply assert that opposites attract - the excess protons and both the neighboring and distant electrons attract each other. The protons cannot do anything about this attraction since they are bound within the nucleus of their own atoms. Yet, electrons are loosely bound within atoms; and being present in a conductor, they are free to move. These electrons make the move for the excess protons, leaving their own atoms with their own excess of positive charge. This electron migration happens across the entire surface of the object, until the overall sum of repulsive affects between electrons across the whole surface of the object are minimized.

Recall that an electric current in a metal consists of a flow of negative electrons; whereas in other conducting media an electric current may consists of the movement of both negative and positive charge carriers.

### 2.3 Electron Flow Vs. Conventional Current

Just like water flowing through the emptiness of a pipe, electrons are able to move within the empty space within and between the atoms of a conductor. The conductor may appear to be solid to our eyes, but any material composed of atoms is mostly empty space! The liquid-flow analogy is so fitting that the motion of electrons through a conductor is often referred to as a "flow."

Conventional Current assumes that current flows out of the positive terminal, through the circuit and into the negative terminal of the source. This was the convention chosen during the discovery of electricity. They were wrong!

Electron Flow is what actually happens and electrons flow out of the negative terminal, through the circuit and into the positive terminal of the source. Both Conventional Current and Electron Flow are used by industry. Many textbooks are available in both Electron Flow and Conventional Current formats. In fact, it makes no difference which way current is flowing as long as it is used consistently. The direction of current flow does not affect what the current does. In general, two year technical programs and highschool Physics use Electron Flow. But three year technician and university engineering programs still use Conventional Current. Certain symbols (ex. diodes and transistors) and rules (ex. Right hand rules for electromagnets) were created using Conventional Current. Changing from Conventional Current to Electron Flow would cause a degree of confusion for old and new students and errors would occur, so Conventional Current was kept to ensure there was no confusion.

### 2.4 Unit of quantity of electricity: The Coulomb

An electric current in a wire is a drift of electrons and the quantity of electricity that passes through an point will depend on the strength of the current and the time for which it flows. The unit of quantity is called the coulomb.

A coulomb is the quantity of electricity which passes any point in a circuit in 1 second when a steady current of 1 ampere is flowing.

It follows that the total quantity of electricity Q, in coulombs, which passes any point in an electric circuit is given by multiplying the current I, un amperes, by the time t, in seconds:

Coulombs  	=      amperes   x    seconds

Q 	=	I t

### 2.5 Direct and Alternating Current

There are two different ways that electricity is produced, and they are used in most cases for very different purposes. They can also be converted from one form to another.

The first and simpler type of electricity is called direct current, abbreviated "DC". This is the type of electricity that is produced by batteries, static, and lightning. A voltage is created, and possibly stored, until a circuit is completed. When it is, the current flows directly, in one direction. In the circuit, the current flows at a specific, constant voltage (this is oversimplified somewhat but good enough for our needs.) When you use a flashlight, pocket radio, portable CD player or virtually any other type of portable or battery-powered device, you are using direct current. Most DC circuits are relatively low in voltage; for example, your car's battery is approximately 12 V, and that's about as high a DC voltage as most people ever use.

An idealized 12 V DC current. The voltage is considered positive because its potential is measured relative to ground or the zero-potential default state of the earth. (This diagram drawn to the same scale as the AC diagram below.)

The other type of electricity is called alternating current, or "AC". This is the electricity that you get from your house's wall and that you use to power most of your electrical appliances. Alternating current is harder to explain than direct current. The electricity is not provided as a single, constant voltage, but rather as a sinusoidal (sine) wave that over time starts at zero, increases to a maximum value, then decreases to a minimum value, and repeats. A representation of an alternating current's voltage over time is shown in the diagram below.

While simple direct current circuits are generally described only by their voltage, alternating current circuits require more detail. First of all, if the voltage goes from a positive value to a negative value and back again, what do we say is the voltage? Is it zero, because it averages out to zero? That would seem to imply that there is no energy there at all. But imagine, if you will, a wave of water flowing across the surface of the sea. The peaks and troughs of the wave seem  to "cancel each other out", but the wave clearly exists and has energy. The same is true of alternating current.

The way the science world measures the energy in an AC signal is to compute what is called the root mean square (RMS) average of the voltage. In simple terms, the RMS value of an electrical current is the number which represents the same energy that a DC current at that voltage would produce; it is in essence an average of the alternating current waveform. Whenever you see an AC voltage specification, they are giving you the RMS number unless they say otherwise specifically. So for example, in North America, most homes have 115 VAC electricity. This is AC electricity equivalent in energy to a 115 V DC circuit. (This is an approximate number, and standard household electricity in North America is also sometimes called 110VAC or 120VAC; it's the same thing.) Other parts of the world use different voltages ranging from 100VAC to 240VAC, and of course, heavy equipment anywhere can use much higher voltages.

The other key characteristic of AC is its frequency, measured in cycles per second (cps) or, more commonly, Hertz (Hz). This number describes how many times in a second the voltage alternates from positive to negative and back again, completing one cycle. In North America, the standard is 60 Hz, meaning 60 cycles from positive to negative and back again in one second. In other parts of the world the standard is 50 Hz.

Three cycles of an idealized North American 115 VAC, 60 Hz alternating current signal (black curve). Note that each cycle represents 16.67 milliseconds of time, because that is 1/60th of a second. The curve actually goes from -170 V to +170 V in order to provide the average (RMS) value of 115 V. The RMS equivalent is shown as a green horizontal line. To demonstrate what RMS means, look at the blue shaded area, which shows the total = energy in the signal for one cycle. The green shading is the area between the RMS line and the zero line for one cycle, and represents the energy in an equivalent 115 V DC signal. The definition of the RMS value is that which makes the green and blue areas equal. (This diagram drawn to the same scale as the DC diagram above.)

Why does standard electricity come only in the form of alternating current? There are a number of reasons, but one of the most important is that a characteristic of AC is that it is relatively easy to change voltages from one level to another using a transformer, while transformers do not work for DC. This capability allows the companies that generate and distribute electricity to do it in a more efficient manner, by transmitting it at high voltage for long lengths, which reduces energy loss due to the resistance in the transmission wires. Another reason is that it may be easier to mechanically generate alternating current electricity than direct current.

### 2.6 Using current-time or voltage-time graphs to deduce the period and frequency of alternating currents or voltages

The solid line represents the sine function, with the ordinate labelled in degrees (360 degrees = 2 pi radians = one cycle).