9.0 Electromagnetism II

- Learning objectives

Induced e.m.f.

- Describe simple activities which demonstrate an induced e.m.f. caused by changing magnetic flux

- Describe simple experiments to show how the magnitude of the e.m.f. induced in a conductor depends on the rate of change of magnetic flux experienced by the conductor

- Predict the direction of induced current given the direction of motion of the conductor and that of the magnetic field

- Explain the action of a simple a.c. generator

Transformers

- Give a simple explanation of the principle of operation of a transformer

- Describe the features of a transformer which make for efficiency

- Recall the advantages of using a.c. for transferring electrical energy

- Recall that for an ideal transformer, Pout = Pin

____________________________________________________________________

### 9.1 Linking electricity and magnetism

So far we've dealt with electricity and magnetism as separate topics. From now on we'll investigate the inter-connection between the two, starting with the concept of induced EMF. This involves generating a voltage by changing the magnetic field that passes through a coil of wire.

We'll come back and investigate this quantitatively, but for now we can just play with magnets, magnetic fields, and coils of wire. You'll be doing some more playing like this in one of the labs. There are also some coils and magnets available in the undergraduate resource room - please feel free to use them.

First, connect a coil of wire to a galvanometer, which is just a very sensitive device we can use to measure current in the coil. There is no battery or power supply, so no current should flow. Now bring a magnet close to the coil. You should notice two things:

- If the magnet is held stationary near, or even inside, the coil, no current will flow through the coil.

- If the magnet is moved, the galvanometer needle will deflect, showing that current is flowing through the coil. When the magnet is moved one way (say, into the coil), the needle deflects one way; when the magnet is moved the other way (say, out of the coil), the needle deflects the other way. Not only can a moving magnet cause a current to flow in the coil, the direction of the current depends on how the magnet is moved.

How can this be explained? It seems like a constant magnetic field does nothing to the coil, while a changing field causes a current to flow.

To confirm this, the magnet can be replaced with a second coil, and a current can be set up in this coil by connecting it to a battery. The second coil acts just like a bar magnet. When this coil is placed next to the first one, which is still connected to the galvanometer, nothing happens when a steady current passes through the second coil. When the current in the second coil is switched on or off, or changed in any way, however, the galvanometer responds, indicating that a current is flowing in the first coil.

You also notice one more thing. If you squeeze the first coil, changing its area, while it's sitting near a stationary magnet, the galvanometer needle moves, indicating that current is flowing through the coil.

What you can conclude from all these observations is that a changing magnetic field will produce a voltage in a coil, causing a current to flow. To be completely accurate, if the magnetic flux through a coil is changed, a voltage will be produced. This voltage is known as the induced emf.

### 9.2 If the flux changes, an emf will be induced.

The magnetic flux is a measure of the number of magnetic field lines passing through an area. If a loop of wire with an area A is in a magnetic field B, the magnetic flux is given by:

If the flux changes, an emf will be induced. There are therefore three ways an emf can be induced in a loop:

- Change the magnetic field

- Change the area of the loop

- Change the angle between the field and the loop

### 9.3 Fleming's right hand rule

(for generators) shows the direction of induced current flow when a conductor moves in a magnetic field.

The right hand is held with the thumb, first finger and second finger mutually at right angles, as shown in the diagram.

- The Thumb represents the direction of Motion of the conductor.

- The First finger represents the direction of the Field.

- The Second finger represents the direction of the induced or generated Current (in the classical direction, from positive to negative).

- One particular way of remembering the rule is the "FBI" acronym for Force(or otherwise motion), B as the magnetic field sign and I as the current. The subsequent letters corespond to subsequent fingers, counting from the top. Thumb -> F; First finger -> B; Second finger -> I

### 9. 4 Alternating current (AC) generators

A magnet creates magnetic lines of force on either side of it that move in opposite directions. As the metal coil passes through the magnetic field in a generator, the electrical power that is produced constantly changes. At first, the generated electric current moves in one direction (as from left to right). Then, when the coil reaches a position where it is parallel to the magnetic lines of force, no current at all is produced. As the coil continues to rotate, it cuts through magnetic lines of force in the opposite direction, and the electrical current generated travels in the opposite direction (as from right to left). The ends of the coil are attached to metal slip rings that collect the electrical current. Each slip ring, in turn, is attached to a metal brush, which transfers the current to an external circuit.

Thus, a spinning coil in a fixed magnetic field will produce an alternating current, one that travels first in one direction and then in the opposite. The rate at which the current switches back and forth is known as its frequency. Ordinary household current alternates at a frequency of 60 times per second (or 60 hertz).

The efficiency of an AC generator can be increased by substituting an armature for the wire coil. An armature consists of a cylinder-shaped iron core with a long piece of wire wrapped around it. The longer the piece of wire, the greater the electrical current that can be generated by the armature.

# AC Motor

|  | As in the DC motor case, a current is passed through the coil, generating a torque on the coil. Since the current is alternating, the motor will run smoothly only at the frequency of the sine wave. It is called a synchronous motor. More common is the induction motor, where electric current is induced in the rotating coils rather than supplied to them directly. |
| --- | --- |

One of the drawbacks of this kind of AC motor is the high current which must flow through the rotating contacts. Sparking and heating at those contacts can waste energy and shorten the lifetime of the motor. In common AC motors the magnetic field is produced by an electromagnet powered by the same AC voltage as the motor coil. The coils which produce the magnetic field are sometimes referred to as the "stator", while the coils and the solid core which rotates is called the "armature". In an AC motor the magnetic field is sinusoidally varying, just as the current in the coil varies.

### 9. 5 Principle operation of a transformer

A transformer makes use of Faraday's law and the ferromagnetic properties of an iron core to efficiently raise or lower AC voltages. It of course cannot increase power so that if the voltage is raised, the current is proportionally lowered and vice versa.

The transformer is based on two principles: firstly that an electric current can produce a magnetic field (electromagnetism) and secondly that a changing magnetic field within a coil of wire induces a voltage across the ends of the coil (electromagnetic induction). By changing the current in the primary coil, it changes the strength of its magnetic field; since the changing magnetic field extends into the secondary coil, a voltage is induced across the secondary.

An ideal step-down transformer showing magnetic flux in the core

A simplified transformer design is shown to the left. A current passing through the primary coil creates a magnetic field. The primary and secondary coils are wrapped around a core of very high magnetic permeability, such as iron; this ensures that most of the magnetic field lines produced by the primary current are within the iron and pass through the secondary coil as well as the primary coil.

### 9.6 Ideal power equation

The ideal transformer as a circuit element

If the secondary coil is attached to a load that allows current to flow, electrical power is transmitted from the primary circuit to the secondary circuit. Ideally, the transformer is perfectly efficient; all the incoming energy is transformed from the primary circuit to the magnetic field and into the secondary circuit. If this condition is met, the incoming electric power must equal the outgoing power.

Pincoming = IPVP = Poutgoing = ISVS

giving the ideal transformer equation

If the voltage is increased (stepped up) (VS > VP), then the current is decreased (stepped down) (IS < IP) by the same factor. Transformers are efficient so this formula is a reasonable approximation.

### 9.7 Advantages of using a.c. for transferring electrical energy

A key application of transformers is to increase voltage before transmitting electrical energy over long distances through wires. Most wires have resistance and so dissipate electrical energy at a rate proportional to the square of the current through the wire. By transforming electrical power to a high-voltage (and therefore low-current) form for transmission and back again afterwards, transformers enable economic transmission of power over long distances. Consequently, transformers have shaped the electricity supply industry, permitting generation to be located remotely from points of demand. All but a fraction of the world's electrical power has passed through a series of transformers by the time it reaches the consumer. Transformers are used extensively in consumer electronic products to step down the supply voltage to a level suitable for the low voltage circuits they contain. In these kind of applications the transformer may also act as a key safety component that electrically isolates the end user from direct contact with the potentially lethal supply voltage.

Signal and audio transformers are used to couple stages of amplifiers and to match devices such as microphones and record player cartridges to the input impedance of amplifiers. Audio transformers allowed telephone circuits to carry on a two-way conversation over a single pair of wires. Transformers are also used when it is necessary to couple a differential-mode signal to a ground-referenced signal, and for isolation between external cables and internal circuit.

### 9.8 For an ideal transformer, Pout = Pin

For an ideal transformer:

Power P out = P in

The ideal transformer neglects losses to resistive heating in the primary coil and assumes ideal coupling to the secondary (i.e., no magnetic losses).